## Slide 1: SAFT Techniques Review
Bar Weiss

## Slide 2: Agenda
Sinogram Analysis
  Parameters effect
  Artifacts
SAFT techniques
  Techniques overview
  Results
  Paper comparisons

## Slide 3: Sinogram Algorithm – Inputs and Outputs
Inputs
  image representing the optical absorption
  Transducer diameter
  Focal length
Output: sinogram

## Slide 4: Sinogram Results – Simulation Conditions
Parameter | Notation | Unit | Value
Sensor diameter |  | mm | 11
Focal length |  | mm | 12.3
Speed of sound |  | m/s | 1480
Time Oversampling factor | - | - | 5
Image width |  | mm | 4.1
Spatial resolution |  | Pixels | 250
Detector number | - | - | 250
Space between points |  | mm | 0.017
Parameter | Notation | Unit | Value
Sensor diameter |  | mm | 11
Focal length |  | mm | 12.3
Speed of sound |  | m/s | 1480
Time Oversampling factor | - | - | 5
Image width |  | mm | 4.1
Spatial resolution |  | Pixels | 250
Detector number | - | - | 250
Space between points |  | mm | 0.017

## Slide 5: Paper Sinogram

## Slide 6: Sinogram – Paper Values

## Slide 7: Zoom in

## Slide 8: SIR Amplification Across Center
I took the SIR looked at the center of the y-axis and for each distance z, calculated the peak value of the SIR.

## Slide 9: Sinogram –

## Slide 10: Sinogram –

## Slide 11: Sinogram –

## Slide 12: Sinogram –

## Slide 13: Basic SAFT
The Basic SAFT algorithm treats all the points the same way

## Slide 14: Basic SAFT – Important points
The summation extent is depth independent for the basic SAFT.
Because the extent of summation is large, as we near the focus more invalid signals are included in the summation.

## Slide 15: Coherence Factor
Coherence factor measures in-phase summation for each point in the SAFT image

## Slide 16: SIR SAFT
SIR – Spatial Impulse Response
This technique includes the shape of the SIR in the summation
Transducer

## Slide 17: SIR SAFT - another approach
Another way to consider the SIR is a binary weighting map for the summation

## Slide 18: SAFT SIR – Hyperbolic Geometry
This is a way to create the binary weighting map, by considering hyperbolic geometry instead of triangular.
The previous method is a simplification of this.

## Slide 19: Sinogram

## Slide 20: SAFT

## Slide 21: SAFT CF

## Slide 22: SAFT SIR

## Slide 23: SAFT SIR CF

## Slide 24: Noisy Sinogram – 3% of maxima

## Slide 25: SAFT Noisy

## Slide 26: SAFT CF Noisy

## Slide 27: SAFT SIR Noisy

## Slide 28: SAFT SIR CF Noisy

## Slide 29: DMAS SAFT
DMAS – Delay Multiply And Sum
The idea is to extract coherence information based on spatial cross-correlation

## Slide 30: DMAS SAFT – Why Filter?
The scan lines multiplication translates to convolution in the frequency domain, this creates a strong low frequency component that causes artifacts and should be filtered.

## Slide 31: 2D-SAFT

## Slide 32: Adaptive SAFT
The angle is extracted from depth estimation in a MAP (Maximum Amplitude Projection) image.

## Slide 33: 2D Methods Comparison

## Slide 34: Summary

## Slide 35: References
Rongkang Gao, Qiang Xue, Yaguang Ren, Hai Zhang, Liang Song, Chengbo Liu, “Achieving depth-independent lateral resolution in AR-PAM using the synthetic-aperture focusing technique”, Photoacoustics, Volume 26, 2022
Jake Turner, Héctor Estrada, Moritz Kneipp and Daniel Razansky “Improved optoacoustic microscopy through three-dimensional spatial impulse response synthetic aperture focusing technique”, Optics Letters, 2014
Joging Park, Seungwan Jeon, Jing Meng, Liang Song, Jin S. Lee and Chulhong Kim, “delay-muliply-and-sum-based synthetic aperture focusing technique in photoacoustic microscopy”, Journal of Biomedical Optics, 2016

## Slide 36: Backup

## Slide 37: SAFT Paper Results

## Slide 38: Paper Simulation Conditions
SIR simulated with Field II software package
Noise with of maxima
Transducer with 25MHz center frequency, 11mm outer diameter, focal length of 12.3mm

## Slide 39: Sinogram for 2mm and 10 mm image

## Slide 40: SIR derivative

## Slide 41: Original SIR – Velocity Potential

## Slide 42: Sinogram for

## Slide 43: SAFT -

## Slide 44: SAFT CF -

## Slide 45: SAFT SIR -

## Slide 46: SAFT SIR CF -

## Slide 47: Noisy Sinogram for

## Slide 48: SAFT Noisy -

## Slide 49: SAFT CF Noisy -

## Slide 50: SAFT SIR Noisy -

## Slide 51: SAFT SIR CF Noisy -

## Slide 52: Sinogram 15% Noise

## Slide 53: SAFT SIR CF 10% Noise

## Slide 54: SAFT Just Delay

## Slide 55: Arch summation

## Slide 56: Arch summation

## Slide 57: Arch summation