## Slide 1: Sinogram Creation and Basic SAFT
Bar Weiss

## Slide 2: Agenda
Sinogram Creation
  SIR in the paper
  Interpretation for our application
  Use for creating a Sinogram
SAFT
Results

## Slide 3: SIR in the Paper
Analysis done for a case where the transducer is transmitting an impulse
The time derivative of the SIR represents the pressure wave in any time and any location
Marcel Aditi et al, “Transient Fields of Concave Annular Array”, Academic Press 1981

## Slide 4: Interpretation for Receiving Mode
In receiving mode, the SIR represent the receiver sensitivity
is the signal that will be received if the point generates an impulse
transducer
Point sources

## Slide 5: Sinogram Algorithm – Inputs and Outputs
Inputs
  image representing the optical absorption
  Transducer parameters
  Number of detectors
Output: sinogram

## Slide 6: Sinogram Algorithm - Concept
First calculate the SIR for the image size and transducer parameters
Then for each detector position, translate the original image to create a scan
For each scan position sum up all received signals according to the SIR
transducer
y-scan

## Slide 7: Sinogram Results – Simulation Conditions
Parameter | Unit | Value
Sensor diameter | mm | 13
Focal length | mm | 25
Speed of sound | m/s | 1480
Oversampling factor | - | 5
Image width | mm | 10
Spatial resolution | pixels | 250
Detector number | - | 250

## Slide 8: Sinogram Results

## Slide 9: Sinogram Results – Gamma correction

## Slide 10: Sinogram Results

## Slide 11: Sinogram Results

## Slide 12: SAFT Algorithm
The algorithm treats the transducers focal point as a virtual source, that produces an approximately spherical wave-front over a limited angular extent
SAFT adds delays relative to the
virtual source.
Marcel Aditi et al, “Improved Synthetic Aperture Focusing Technique with Applications in High-Frequency Ultrasound Imaging ”, IEEE Transaction on Ultrasonics 2004

## Slide 13: SAFT Algorithm - Formulation

## Slide 14: SAFT Results – Simulation Conditions
Parameter | Unit | Value
Sensor diameter | mm | 13
Focal length | mm | 25
Speed of sound | m/s | 1480
Oversampling factor | - | 5
Image width | mm | 10
Spatial resolution | Pixels | 250
Detector number | - | 120/60
N – SAFT sum extent | - | 8/4

## Slide 15: Basic SAFT Results – 250 detectors

## Slide 16: SAFT with Windows
We can notice that the focal point disappears after the SAFT, but if we look at the gamma corrected image it is clearly there.
The problem is that the gain the SAFT adds to each point is asymmetric, close points receive more gain then the

## Slide 17: Rectangle and Bartlett

## Slide 18: Hann and Hamming

## Slide 19: SAFT Results – 120 detectors

## Slide 20: SAFT Results – 120 detectors

## Slide 21: SAFT Results – 60 detectors

## Slide 22: SAFT Results – 60 detectors Correction

## Slide 23: Further work
Create metrics for evaluation of sinograms
Explore limitations of basic SAFT and find methods to improve it